DAMPPROOFING		9/2/04

1.0  Description.  This work shall consist of the application of dampproofing material below the ground line on those portions of substructure units or walls designated in the contract.  Dampproofing will be classified as ordinary dampproofing or as special dampproofing.

2.0 Material.  All material shall be in accordance with Division 1000, Material Details, and specifically as follows.

2.1  Bituminous Prime Coat.

2.1.1  Asphalt primer shall be in accordance with ASTM D 41.

2.1.2  Creosote primer shall be in accordance with ASTM D 43.

2.2  Bituminous Mop Coat.  The bitumen shall consist of asphalt or coal tar bitumen.  The type of bitumen used for mopping shall be the same as that used for treatment of the fabric.

2.2.1  Asphalt shall be in accordance with ASTM D 449, Type II.

2.2.2  Coal tar bitumen shall be in accordance with ASTM D 450, Type III.

2.3  Fabric.  Bitumen-treated cotton fabric shall be in accordance with ASTM D 173.

3.0  Construction Requirements.

3.1  General Requirements.  Dampproofing shall not be applied in wet weather or when the ambient temperature is below 50°F (10°C).  Concrete shall be dry and clean before dampproofing is applied.  If bituminous material is used for curing, the bituminous material may also serve as a priming coat, except that additional primer may be necessary before application of the topcoat when directed by the engineer. The bitumen for dampproof mop coat shall be carefully heated, with frequent stirring, to a temperature within the following limits:

| Asphalt |  | 300-350°F (150-175°C) |
| --- | --- | --- |
| Coal Tar Pitch |  | 200-250°F (90-120°C) |

3.2  Ordinary Dampproofing.  Ordinary dampproofing shall be applied by covering the surfaces either with a light priming coat of asphaltic primer and an asphalt mop coat, or with a creosote priming coat and a coal tar pitch mop coat.  The primer shall be applied without heating at the approximate rate of one gallon per 100 square feet (0.4 L/m2) of surface.  The primer may be thinned by the addition of a small quantity of appropriate solvent.  After the primer has cured, the mop coat shall be applied to obtain a thickness of approximately 5/64 inch (2.0 mm) for the dampproof coating.

3.3  Special Dampproofing.  If special dampproofing at joints is specified, dampproofing shall consist of applying a coat of primer in accordance with section 3.2 of this provision.  After the primer has cured, a 5/64 inch (2.0 mm) mop coat shall be applied in accordance with section 3.2 of this provision.  While this mop coat is still hot, there shall be applied a strip of bituminous treated cotton fabric which shall extend at least 6 inches (150 mm) each side of construction and expansion joints.  A second mop coat shall then be applied to obtain a thickness of approximately 3/64 inch (1.2 mm), and while still hot, another strip of bituminous treated cotton fabric shall be applied, extending 3 inches (75 mm) beyond the edges of the first layer of fabric.  The entire surface of the fabric shall be given a final 5/64 inch (2.0 mm) mop coat.  On surfaces that are vertical or nearly so, the strips of cotton fabric shall be placed vertical or with the slope.  On other surfaces, the strips shall be laid shingle fashion, beginning at the lowest part of the area to be dampproofed.  All fabric shall be pressed into place in the hot bitumen so that air bubbles are eliminated.  Work shall be regulated so that at the end of the day all fabric that has been applied will have received the final coat of bitumen.

3.4  Repairing Defects.  Patching of defective dampproofing shall extend at least 12 inches (300 mm) beyond the outermost edge of a defective portion.  The second ply of the patch shall extend at least 3 inches (75 mm) beyond the first ply.

4.0  Method of Measurement.  No measurement will be made.

5.0  Basis of Payment.  Payment for dampproofing will be considered completely covered by the contract unit price for other items included in the contract.